## Slide 1: Evaluating ML Models for Modelling Piezo Dynamics
29.7.24
David Kleindiek

## Slide 2: Introduction
Nanoprobing
Semiconductors Failure Analysis
Driven by piezo motors
Sub-nanometre accuracy

## Slide 3: Devices
MM3E
Three axis
Input voltage: -80V to 80V
Max displacement: a, b=20µm, c=3µm
Encoder resolution: a, b=250nm c=20nm
C Axis used to capture data

## Slide 4: Challenges: Hysteresis
Non-linear relation between input voltage and displacement
Dependent on current and past applied voltages

## Slide 5: Challenges: Creep
Slow drift of displacement after voltage step
Up to 15% deviation from desired position
Time dependent on previous applied voltages

## Slide 6: Data collection
Modified random walk
>32 hours of movement data
>7 hours of creep recording

## Slide 7: Feature enginering
Dependency on past applied voltages
Step size
Rolling exponential sums
Lagged position
Voltage differentiating
Lasso regression for feature selection

## Slide 8: Models
Linear Regression
Vanilla Neural Network
Long short-term memory
Kolmogorov-Arnold Networks
Hyperparameter Optimization Framework:
https://github.com/optuna/optuna

## Slide 9: KAN: Kolmogorov-Arnold Networks
Faster scaling
Interpretability
https://github.com/KindXiaoming/pykan

## Slide 10: KAN: Training
https://arxiv.org/abs/2404.19756

## Slide 11: Metrics

## Slide 12: Evaluation: Hysteresis
Turning points pose a problem for neural network

## Slide 13: Evaluation: Hysteresis

## Slide 14: Evaluation: Creep
Vanilla NN and LSTM deficate slightly
KAN near perfect

## Slide 15: Evaluation: Creep
Endposition + encoder noise characteristic

## Slide 16: Outlook
Create an inverse model to compensate the effects
Extend model to predict voltage for goal position
Integrate models into the controller of the manipulators